OT-RECON

Detailed Technical Documentation — v2

OT Network Reconnaissance & Industrial Asset Discovery Tool

Covers Siemens, Rockwell/Allen-Bradley, and B&R Automation

This document describes the current state of OT-Recon following the v2 upgrade: expanded vendor coverage, a severity-scored risk engine with local CVE correlation, concurrent fingerprinting, JSON/CSV export, a layered configuration system, a 144-test automated test suite, and scan history/diffing. It is written to be read standalone — no prior familiarity with the codebase required.

# 1. Executive Summary

OT-Recon is a modular Python command-line tool for Operational Technology (OT) network reconnaissance. It layers OT-specific intelligence — protocol awareness, industrial device fingerprinting, evidence-based classification, and risk assessment — on top of Nmap, which remains the underlying scanning engine by design.

The v2 upgrade took the tool from a single-pass proof-of-concept covering two vendors to a multi-stage pipeline covering three vendors, with severity-scored, CVE-aware risk output, machine-readable export, configurable scanning behavior, an automated test suite, and the ability to track how a network's OT asset exposure changes over time.

## What changed, at a glance

- Added B&R Automation as a third fully-supported vendor (Siemens and Rockwell/Allen-Bradley were already supported).

- Fixed a latent bug where port-based protocol detection silently never worked for any vendor (YAML int/str key mismatch).

- Fixed a naming inconsistency that broke OPC UA classification and risk flagging.

- Rebuilt the risk engine around severity levels (Critical/High/Medium/Low/Info) and added a local, source-cited CVE correlation database.

- Parallelized fingerprinting with a thread pool (~10x throughput improvement on larger host counts).

- Added JSON and CSV export alongside the console report.

- Added a layered YAML configuration system (built-in defaults → shipped config → optional site override → CLI flags).

- Added a 144-test automated test suite (96% code coverage) with dedicated regression tests for the bugs found along the way.

- Added scan history snapshots and a diff command to compare two scans of the same network.

# 2. Architecture & Pipeline

The overall pipeline shape from the original design is unchanged, but every stage was extended. A scan now flows through:

- Discovery — Nmap ping sweep (-sn) to find live hosts.

- Scan — targeted Nmap TCP connect scan (-sT) against a widened, vendor-aware port list; an optional UDP pass (-sU) for protocols that only exist over UDP.

- Parse — Nmap XML → structured Python dicts; TCP and UDP results are merged per host.

- Enrich — open ports/services are mapped to OT protocol names, via port number and via Nmap's recognized service name, each with a confidence level.

- Fingerprint — vendor-specific probes (Nmap NSE scripts for Siemens/Rockwell, HTTP probes for B&R) run concurrently across hosts to extract vendor/model/firmware and supporting evidence.

- Classify — evidence-first device-type classification (PLC, HMI, Safety PLC, Field Device, etc.), falling back to protocol-based heuristics only when no stronger evidence exists.

- Risk Assessment — protocol-exposure findings plus known-CVE correlation, each finding severity-scored.

- Report / Export — always a Rich console table; optionally JSON and/or CSV.

- History — every scan can be saved as a timestamped snapshot; two snapshots can be diffed to see what changed.

Every stage remains its own module under ot_recon/core/, and every stage's output is a plain list of host dictionaries passed to the next stage — there is no hidden global state, which is what makes the pipeline straightforward to test in isolation (see Section 6).

# 3. Module-by-Module Reference

## 3.1 scanner.py — Discovery & Targeted Scanning

Wraps the two Nmap invocations that find hosts and identify open OT/IT ports on them.

discover_hosts(target, verbose=False): runs `nmap -sn` against the target CIDR/host, parses output/discovery.xml, returns a list of live IPs.

scan_live_hosts(hosts, verbose=False, udp=False, tcp_ports=None, udp_ports=None, tcp_timing=None, udp_timing=None): runs the targeted TCP connect scan. Port list and timing template are now parameters (previously hardcoded); if omitted they fall back to the module defaults, which mirror data/config.yaml.

scan_udp_ports(hosts, verbose=False, udp_ports=None, udp_timing=None): opt-in UDP scan (`-sU`) for EtherNet/IP implicit I/O (2222) and SNMP (161) — protocols a TCP-only scan structurally cannot see. Requires root/sudo; fails gracefully (prints a message, does not crash the run) if privileges are insufficient.

Default TCP port list (21 ports): 21, 22, 80, 81, 102, 161, 443, 502, 2222, 4840, 5900, 8084, 11159, 11160, 11169, 20000, 44818, 50000, 51000.

## 3.2 parser.py — Nmap XML → Structured Data

_parse_nmap_xml(path, protocol="tcp"): internal helper; parses one Nmap XML file into {ip: [port_dict, ...]}. Treats Nmap's "open|filtered" UDP state as "filtered" so it still surfaces to the operator rather than being silently dropped.

parse_results(): parses output/scan.xml (TCP) and, if present, output/scan_udp.xml (UDP), merging both into one list of {ip, ports} dicts per host.

## 3.3 enricher.py — Port/Service → Protocol Name

Two independent detection methods run per port, the stronger one winning:

- Method 1 (port-based, confidence Medium) — looks the port number up in data/ports.yaml.

- Method 2 (service-based, confidence High) — looks Nmap's reported service name up in an internal SERVICE_MAP alias table.

load_port_map(): loads and parses data/ports.yaml.

enrich(data): applies both methods to every open/filtered port on every host, attaching protocol name, confidence, and the port's transport (tcp/udp) to each host as host["ot_ports"].

Bug fixed in v2: data/ports.yaml keys parse as Python int via PyYAML, but the original code compared them against str(port) — so Method 1 never matched anything, for any vendor, ever. This meant obscure vendor-specific ports (which Nmap has no built-in service name for, e.g. all of B&R's) were silently invisible. Fixed by comparing as int; covered by a regression test.

## 3.4 fingerprinter.py — Vendor Identification (Concurrent)

Runs vendor-specific probes to extract vendor, model, firmware, and supporting evidence strings. As of v2 this runs across hosts concurrently via a thread pool rather than serially.

_fingerprint_host(host, verbose=False, script_timeout=30, http_timeout=4): the per-host logic, run inside the pool. Populates host["vendor"], host["model"], host["firmware"], and host["evidence"] (a list of strings).

fingerprint(data, verbose=False, workers=10, script_timeout=30, http_timeout=4): submits every host to a ThreadPoolExecutor, logs progress as each completes (thread-safe, lock-protected), and catches per-host failures without aborting the whole run.

### Per-vendor probe logic

- Siemens (S7): Nmap script s7-info against port 102 — extracts Module, Version (firmware), System Name; regex-parsed from script output.

- Siemens (HTTP/HMI): Nmap scripts http-title,ssl-cert against 80/443 — flags "SIMATIC HMI" strings and page titles.

- Rockwell (EtherNet/IP): Nmap script enip-info against port 44818 — extracts vendor, productName (model), revision (firmware), device type.

- B&R Automation: no dedicated Nmap NSE script exists for B&R's proprietary protocols (PVI/ANSL/SafeDESIGNER), so two methods are combined — (1) an HTTP GET against known B&R endpoints (/sdm for System Diagnostics Manager, and mapp View/Cockpit roots) checking response body/title for identifying strings; (2) port-signature evidence — ports like 11169, 50000/51000 essentially only ever appear on B&R controllers, so their mere presence is logged as evidence even without a banner match, with the vendor marked "(unconfirmed — port signature only)" until corroborated.

## 3.5 classifier.py — Device-Type Classification

Evidence-driven by design principle: ports are never the sole basis for calling a device a PLC/HMI/gateway. Rules are checked in priority order, strongest evidence first, falling back to protocol-based heuristics only when nothing stronger matched.

classify(data): applies the rule chain to every host and sets host["type"] and host["confidence"].

| Evidence / condition | Type | Confidence |
| --- | --- | --- |
| "Module Type: PLC" / "Programmable Logic Controller" phrase | PLC | Very High |
| "SIMATIC HMI" / "Human-Machine Interface" phrase | HMI | Very High |
| SafeDESIGNER evidence | Safety PLC | High |
| mapp View evidence | HMI | High |
| System Diagnostics Manager (SDM) evidence | PLC/CPU | High |
| B&R vendor set but only via port signature | Possible B&R Device | Medium |
| Modbus protocol only | Field Device | Medium |
| S7 protocol only | Possible PLC | Medium |
| EtherNet/IP protocol only | Possible PLC | Medium |
| OPC UA protocol only | Industrial Server | Medium |
| nothing matched | Unknown | Low |

## 3.6 risk.py — Severity-Scored Risk Engine

v2 replaces plain risk strings with structured findings and adds a severity scale.

SEVERITY_ORDER: ["Critical", "High", "Medium", "Low", "Info"], used both for sorting output and for computing each host's overall risk_severity.

assess_risk(data): for every host: evaluates protocol-exposure rules (Modbus, S7, EtherNet/IP, EtherNet/IP-IO, DNP3, OPC UA), B&R-specific rules (ANSL/PVI port exposure, SafeDESIGNER exposure, SDM exposure, mapp View exposure), generic IT-exposure rules (FTP/VNC/HTTP/SSH/SNMP), a contextual "multiple services exposed" rule, and finally calls cve.correlate(host) to merge in any matched CVEs. Sets host["risks"] (list of finding dicts) and host["risk_severity"] (the single highest severity across all findings).

Each finding is a dict: {finding, severity, cve, advisory}.

Bug fixed in v2: the original code tracked port state in a dict keyed by protocol name (states = {protocol: state}), so if a host had two ports sharing one protocol label — which happens throughout B&R's port set (two SafeDESIGNER ports, two PVI ports) — a later "filtered" entry could silently overwrite an earlier "open" one and suppress a real finding. Fixed by tracking state per-port instead; covered by a regression test.

## 3.7 cve.py — Local CVE Correlation (new in v2)

Matches a fingerprinted host's vendor/model/firmware/evidence/open-ports against data/cve_db.yaml — a small, hand-curated reference table sourced from CISA ICS advisories and vendor PSIRT advisories. This is deliberately not a live feed: no network call, no API key, keeps the tool usable air-gapped, and avoids depending on third-party API uptime mid-scan.

_parse_version(v) / _version_lt(current, threshold): loosely extract a tuple of ints from a version-like string and compare; return None (not True/False) when a string can't be parsed, so callers can tell “not vulnerable” apart from “can't tell.”

_vendor_key(vendor): maps a free-text vendor string (as set by the fingerprinter) to one of the three DB sections: siemens / rockwell / br.

correlate(host): the main entry point, called from risk.assess_risk(). Matching rules can require a model substring, a specific open port, and/or an evidence-string match, optionally gated by a firmware_lt version threshold.

Key design decision: a rule is only ever asserted as a confirmed hit when firmware can actually be parsed and compared against the threshold. When firmware is missing or unparsable — very common for B&R, since no NSE script exposes its firmware version — the finding is downgraded to Info severity and the text explicitly says “verify manually if < X” rather than asserting false confidence.

### CVE database contents (10 entries, 3 vendor sections)

| Vendor | Notable entries |
| --- | --- |
| Siemens | CVE-2019-10943/10944 (S7-1200/1500 web CSRF/XSS, SSA-232418); CVE-2025-40943 (S7-1500 trace-file code injection, ICSA-26-071-04); S7-1500 Profinet DoS <1.5.0 |
| Rockwell | CVE-2022-3752 (CompactLogix 5480/ControlLogix 5580 DoS); CVE-2019-10954/10952 (CompactLogix 5370 buffer overflow, RCE/DoS); CVE-2025-12011 (5370/5570 DoS); CVE-2022-1161 (Logix Designer logic-tampering, CVSS 10.0) |
| B&R Automation | CVE-2024-8603 (AR/mapp View <6.1 weak TLS); CVE-2019-19108 (SNMP unauthenticated config, CVSS 9.4); CVE-2025-11044 (ANSL server <6.5); CVE-2025-3448/3449/11498 (SDM session takeover <6.4); SA25P002 (SDM resource-locking DoS <6.3) |

## 3.8 reporter.py — Console Output

generate_report(data): prints a Rich table (IP, Type, Vendor, Model, Firmware, Confidence, Protocols, Risk, per-severity finding counts), followed by a detailed per-host findings section (severity-sorted, with CVE ID and advisory link where applicable), followed by a scan-wide summary line.

generate_diff_report(diff, old_ts=None, new_ts=None): renders the output of history.diff_snapshots() — new/removed hosts, and per-host changes (ports opened/closed, vendor/model/firmware changes, new/resolved findings, severity change).

## 3.9 exporter.py — Machine-Readable Export (new in v2)

export_json(data, path): writes the full dataset (timestamped, host_count, all host detail including every finding) as indented JSON — nothing is lost relative to what the console shows.

export_csv(data, path): writes one row per (host, finding) pair, so it pivots cleanly in a spreadsheet. Hosts with zero findings still get a single row (blank finding columns) so no scanned host silently disappears from the export.

## 3.10 config.py — Layered Configuration (new in v2)

load_config(extra_path=None): returns the effective config dict after deep-merging, in order: built-in defaults → data/config.yaml (shipped, user-editable) → extra_path (an optional --config file for a specific site). Missing files at any layer are silently skipped. Partial override files are fine — only the keys present are merged in, everything else falls through.

Precedence for any given setting: CLI flag > --config file > data/config.yaml > built-in default.

## 3.11 history.py — Scan Snapshots & Diffing (new in v2)

Persists each scan's fully processed dataset as a timestamped JSON snapshot and compares two snapshots to show what changed on the network between runs.

save_snapshot(data, history_dir=None): writes output/history/<UTC-timestamp>.json.

list_snapshots(history_dir=None): returns all snapshot paths, oldest first.

diff_snapshots(old_hosts, new_hosts): returns {new_hosts, removed_hosts, host_changes}. host_changes only includes hosts present in both snapshots that have at least one detected change — unchanged hosts are omitted to keep the diff focused. Tracked changes: new/closed ports (by port+transport), vendor/model/firmware changes, new/resolved findings (matched by finding text + CVE id, since severity/order aren't part of a finding's identity), and overall severity change.

## 3.12 main.py — CLI

Uses argparse subcommands: scan, history, diff (previously a single flat command).

run_scan(args): resolves effective workers/format/outfile (CLI > config > default), runs the full discovery→...→risk pipeline, always prints the console report, optionally writes JSON/CSV, and — unless --no-history — saves a history snapshot.

run_diff(args): diffs two snapshots: explicit --from/--to paths if given, otherwise the two most recent snapshots automatically.

run_history(args): lists saved snapshots, most recent first, with host count and a Critical/High finding count per snapshot, up to --limit (default 20).

# 4. Data Files Reference

## 4.1 data/ports.yaml

Maps port number → {protocol, desc}. Grouped by vendor family in-file (generic IT, Siemens, Rockwell, generic OT, B&R). 21 ports across 3 vendors plus generic IT/OT protocols. Must stay in sync with scan.tcp_ports in data/config.yaml.

## 4.2 data/cve_db.yaml

Three top-level keys — siemens, rockwell, br — each a list of rule entries with an id (CVE or advisory id), title, match conditions (model_contains / requires_port / requires_evidence / firmware_lt), severity, cvss, and an advisory URL. See Section 3.7 for the matching/gating logic that consumes this file.

## 4.3 data/config.yaml

Three sections: scan (tcp_ports, udp_ports, tcp_timing, udp_timing), fingerprint (workers, nmap_script_timeout, http_timeout), output (format, outfile). Fully commented; meant to be edited directly, or layered over with a --config site-specific file for per-site overrides.

# 5. CLI Reference

## ot-recon scan <target> [options]

ot-recon scan 192.168.1.0/24 --udp --workers 20 --format all --config site.yaml

| Flag | Purpose |
| --- | --- |
| target (positional) | CIDR/host to scan, e.g. 192.168.1.0/24 |
| --verbose | show detailed scan/fingerprint output, including per-host probe failures |
| --udp | also run the UDP pass (EtherNet/IP I/O, SNMP) — requires root/sudo |
| --workers N | fingerprinting thread-pool size (default: from config, normally 10) |
| --format {table,json,csv,all} | table always prints; json/csv/all also write report file(s) |
| --outfile PATH | base path for exported report(s); default output/report.<ext> |
| --config PATH | site-specific config YAML layered over data/config.yaml |
| --no-history | skip saving this run as a history snapshot |

## ot-recon history [--limit N]

Lists saved snapshots, most recent first, default limit 20.

## ot-recon diff [--from PATH] [--to PATH]

Diffs two snapshots — explicit paths if given, otherwise the two most recent automatically. Requires at least 2 saved snapshots.

# 6. Testing

144 tests, 96% statement coverage, ~1 second runtime. pytest and pytest-cov are declared under setup.py's extras_require["dev"].

pip install -e .[dev]
pytest tests/ --cov=ot_recon --cov-report=term-missing

| Test file | Focus |
| --- | --- |
| test_enricher.py | port/service enrichment; regressions for the int/str key bug and OPC UA naming bug |
| test_classifier.py | every evidence-based and protocol-fallback rule (100% coverage) |
| test_risk.py | severity assignment per protocol; B&R findings; multi-port-same-protocol state bug regression (100% coverage) |
| test_cve.py | version parsing/comparison edge cases; confirmed vs. Info-downgraded matches; sanity check against the real shipped DB |
| test_config.py | layered merge behavior, partial overrides |
| test_exporter.py | JSON/CSV round-trips; zero-finding hosts still represented |
| test_parser.py | Nmap XML parsing; TCP+UDP merge |
| test_scanner.py | command construction from config values; UDP failure handling |
| test_fingerprinter.py | concurrency mechanics; per-vendor regex extraction with mocked nmap/HTTP output |
| test_reporter.py | report/diff-report rendering doesn't crash on edge cases |
| test_history.py | snapshot save/list/load; diff logic across all change types |
| test_main_cli.py | CLI argument wiring |
| test_integration.py | full pipeline across Siemens/Rockwell/B&R hosts in one realistic scenario |

# 7. v1 vs. v2 Comparison

| Area | v1 (original) | v2 (current) |
| --- | --- | --- |
| Vendor coverage | Siemens, Rockwell | + B&R Automation (PVI/ANSL/SafeDESIGNER/mapp/SDM) |
| Port-based detection | Silently broken for all vendors (int/str key bug) | Fixed; verified with regression test |
| OPC UA | Never classified/risk-flagged (naming bug) | Fixed; verified with regression test |
| Risk findings | Plain strings, no severity | Structured {finding, severity, cve, advisory}, 5-level severity scale |
| CVE awareness | None | Local, sourced 10-entry DB across 3 vendors; firmware-gated where possible |
| Fingerprinting speed | Serial, one host at a time | Thread-pooled, ~10x on larger host counts |
| Output formats | Console table only | Console + JSON + CSV |
| Configuration | Hardcoded ports/timing/timeouts | Layered YAML config + CLI overrides |
| Error visibility | Silent except: pass | Verbose-gated logging on every probe |
| Tests | None | 144 tests, 96% coverage |
| Historical tracking | None — output overwritten every run | Timestamped snapshots + diff command |

# 8. Known Limitations

- B&R fingerprinting is heuristic (HTTP banner + port signature) since no Nmap NSE script exists for PVI/ANSL/SafeDESIGNER — firmware version is rarely extractable, so several B&R CVE matches downgrade to Info (“verify manually”) rather than a confirmed hit.

- Older B&R controllers (SG3/SGC-era) using the legacy INA2000 protocol over UDP are not covered — only the modern TCP-based ANSL/PVI ports are scanned. A UDP-based INA2000 probe would be needed for full legacy coverage.

- The CVE database is a small, hand-curated snapshot (10 entries), not a live feed — by design, to keep the tool offline-friendly, but it will go stale and needs periodic manual review against CISA/vendor advisories.

- Rockwell/Siemens firmware string formats vary enough that version comparison is “best-effort” (loose numeric-tuple parsing) — unusual formats may fail to parse and fall back to an unconfirmed Info finding.

- UDP scanning requires root/sudo and is opt-in (--udp) since it's slower and needs elevated privileges — a default scan without --udp will miss EtherNet/IP implicit I/O and SNMP if only reachable over UDP.

# 9. How To Proceed Further

From the original project's long-term vision (README) and what's naturally next after this round of work:

## Near-term, natural extensions

- Trend view over history: a lightweight command that shows a timeline of risk_severity per host across all saved snapshots, not just the latest two.

- CI integration: run the existing pytest suite automatically on every change (GitHub Actions workflow) — the test suite is already there, just needs a runner hooked up.

- Expand the CVE DB and set a re-review cadence (e.g. quarterly) against CISA ICS advisories for the 3 vendors.

- A UDP-based INA2000 probe for legacy B&R (SG3/SGC) controllers, to close the one vendor gap noted above.

## Longer-term (from the original roadmap, still open)

- Passive asset discovery via Scapy — listening rather than probing, useful on sensitive OT networks where active scanning is restricted.

- Topology mapping and a persistent asset inventory (the history/diff feature is the groundwork for this).

- Plugin architecture — the module boundaries are already clean (each pipeline stage is independent), so this is more about formalizing an interface than restructuring.

- REST API and web dashboard, once the CLI/data model is stable — the JSON export format is already close to what an API would return.

Suggested order if you want a recommendation: CI hookup and history trend view are cheap and build directly on what exists; the passive-discovery/plugin-architecture/API items are bigger undertakings better tackled once the 3-vendor core has some real-world scan mileage on it.